## Introduction
Introduction-Device or Medical/Surgical Supply including Health Information Technology
The tables in this workbook present data on Device or Medical/Surgical Supply including Health Information Technology (HIT) reports submitted by AHRQ-listed Patient Safety Organizations (PSOs) to the Network of Patient Safety Databases (NPSD) through December 31, 2019. The tables include the relative frequencies by type of device, by device defect, failure or use error, and by the extent of residual patient harm. Each worksheet represents the data used to create one of the dashboards in this module. See the Technical Notes on that dashboard for more information about the data. To access the webpage containing this information, please visit:
https://www.ahrq.gov/npsd/data/dashboard/devices.html
Table of Contents
Below are the names of each dashboard found within the Device or Medical/Surgical Supply including HIT module matched to the name of the respective worksheet within this workbook. Each worksheet contains the raw data used to create the figure found in the matching dashboard.
Dashboard Name | Worksheet Name
Extent of Harm | Device_1
Type of Device | Device_2
Type of Device by Extent of Harm | Device_3
Device Event Description | Device_4
Device Event Description by Extent of Harm | Device_5
HIT Device Related to Event or Unsafe Condition | Device_6
HIT Device Related to Event or Unsafe Condition by Extent of Harm | Device_7

## Device_1
Device_1: Extent of Harm
Extent of Harm | Percentage | Frequency | Total
No Harm | 48.82% | 11390 | 23332
Mild Harm | 21.06% | 4913 | 23332
Moderate Harm | 1.594% | 372 | 23332
Severe Harm | 0.2186% | 51 | 23332
Death | 0.21% | 49 | 23332
Unknown Harm | 28.1% | 6557 | 23332

## Device_2
Device_2: Type of Device
Type of Device | Percentage | Frequency | Total
Medical equipment (e.g., walker, hearing aid) | 77.8% | 13691 | 17597
Medical/surgical supply, including disposable product, (e.g., incontinence supply) | 11.8% | 2070 | 17597
HIT device | 5.5% | 976 | 17597
Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 4.9% | 860 | 17597

## Device_3
Device_3: Type of Device by Extent of Harm
Type of Device | No Harm Percentage | No Harm Frequency | Harm Percentage | Harm Frequency | Total
Medical equipment (e.g., walker, hearing aid) | 56.36% | 1643 | 53.76% | 279 | 3434
Medical/surgical supply, including disposable product, (e.g., incontinence supply) | 25.9% | 755 | 30.06% | 156 | 3434
HIT device | 11.66% | 340 | 5.395% | 28 | 3434
Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 6.072% | 177 | 10.79% | 56 | 3434
NOTE: The No Harm Percentage and Harm Percentage cells are calculated as the percentage of all incidents within the No Harm Frequency or Harm Frequency columns, respectively.

## Device_4
Device_4: Device Event Description
Device Event Description | Percentage | Frequency | Total
Unknown | 49.7% | 7192 | 14476
Device defect or failure, including HIT | 33.5% | 4846 | 14476
Use error | 12.4% | 1798 | 14476
Combination or interaction of device defect or failure and use error | 4.4% | 640 | 14476

## Device_5
Device_5: Device Event Description by Extent of Harm
Device Event Description | No Harm Percentage | No Harm Frequency | Harm Percentage | Harm Frequency | Total
Device defect or failure, including HIT | 41.31% | 839 | 35.34% | 147 | 2447
Unknown | 27.42% | 557 | 24.76% | 103 | 2447
Use error | 24.08% | 489 | 29.09% | 121 | 2447
Combination or interaction of device defect or failure and use error | 7.189% | 146 | 10.82% | 45 | 2447
NOTE: The No Harm Percentage and Harm Percentage cells are calculated as the percentage of all incidents within the No Harm Frequency or Harm Frequency columns, respectively.

## Device_6
Device_6: HIT Device Related to Event or Unsafe Condition
HIT Device | Percentage | Frequency | Total
Electronic health record (EHR) or component of EHR | 30.3% | 103 | 340
Human interface device (e.g., keyboard, mouse, touchscreen, speech recognition system, monitor/display, printer) | 27.9% | 95 | 340
Administrative/billing or practice management system | 12.4% | 42 | 340
Radiology/diagnostic imaging system, including picture archiving and communications system (PACS) | 9.4% | 32 | 340
Automated dispensing system | * | * | 340
Laboratory information system (LIS), including microbiology and pathology systems | * | * | 340
Other type of HIT device | * | * | 340
NOTE: The Percentage cells are calculated as the percentage of all incidents within the Frequency column. The percentage column may sum to less than 100 percent due to rounding and suppression.
* Data have been suppressed to meet nonidentification requirements.

## Device_7
Device_7: HIT Device Related to Event or Unsafe Condition by Extent of Harm
HIT Device | No Harm Percentage | No Harm Frequency | Harm Percentage | Harm Frequency | Total
Electronic health record (EHR) or component of EHR | 34.2% | 55 | * | * | 177
Human interface device (e.g., keyboard, mouse, touchscreen, speech recognition system, monitor/display, printer) | 20.5% | 33 | * | * | 177
Other type of HIT device | 15.5% | 25 | * | * | 177
Radiology/diagnostic imaging system, including picture archiving and communications system (PACS) | 10.6% | 17 | 0% | 0 | 177
Administrative/billing or practice management system | * | * | 0% | 0 | 177
Laboratory information system (LIS), including microbiology and pathology systems | * | * | 0% | 0 | 177
Automated dispensing system | * | * | * | * | 177
NOTE: The No Harm Percentage and Harm Percentage cells are calculated as the percentage of all incidents within the No Harm Frequency or Harm Frequency columns, respectively. The percentage columns may sum to less than 100 percent due to rounding and suppression.
* Data have been suppressed to meet nonidentification requirements.