## Introduction
Introduction-Device or Medical/Surgical Supply including Health Information Technology
The tables in this workbook present data on Device or Medical/Surgical Supply reports submitted by AHRQ-listed Patient Safety Organizations (PSOs) to the Network of Patient Safety Databases (NPSD) through December 31, 2025. The tables include the relative frequencies by type of device, by device defect, failure or use error, and by the extent of residual patient harm. Each worksheet presents the aggregated data for dashboards in this module. Note that the aggregated data in this worksheet may include reports that were not included on the dashboard to avoid risk of disclosure. See the Technical Notes on that dashboard for more information about the data. To access the webpage containing this information, please visit:
https://www.ahrq.gov/npsd/data/dashboard/devices.html
Table of Contents
Below are the names of each dashboard found within the Device or Medical/Surgical Supply module matched to the name of the respective worksheet within this workbook.Each worksheet presents the aggregated data for the figure found in the matching dashboard. Note that the aggregated data in this worksheet may include reports that were not included on the dashboard to avoid risk of disclosure.
Dashboard Name | Worksheet Name
Type of Device | Device_1
Type of Device by Extent of Harm | Device_2
Device Event Description | Device_3
Device Event Description by Extent of Harm | Device_4
HIT Device Related to Event or Unsafe Condition | Device_5
HIT Device Related to Event or Unsafe Condition by Extent of Harm | Device_6

## DEVICE_1
Type of Device
Type_of_Device | Frequency | Percentage
HIT device | 1211 | 1.84%
Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 2909 | 4.41%
Medical equipment (e.g., walker, hearing aid) | 54071 | 82.03%
Medical/surgical supply, including disposable product (e.g., incontinence supply) | 7729 | 11.72%

## DEVICE_2
Type of Device by Extent of Harm
Harm_Scale | Type_of_Device | Frequency | Percentage
Harm | HIT device | 38 | 8.051%
No Harm | HIT device | 434 | 91.95%
Harm | Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 298 | 21.88%
No Harm | Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 1064 | 78.12%
Harm | Medical equipment (e.g., walker, hearing aid) | 1695 | 8.546%
No Harm | Medical equipment (e.g., walker, hearing aid) | 18139 | 91.45%
Harm | Medical/surgical supply, including disposable product (e.g., incontinence supply) | 602 | 15.26%
No Harm | Medical/surgical supply, including disposable product (e.g., incontinence supply) | 3343 | 84.74%

## DEVICE_3
Device Event Description
answer | Frequency | Percentage
Device defect or failure, including HIT | 18197 | 29.69%
Use error | 6510 | 10.62%
Combination or interaction | 2141 | 3.49%
Unknown | 34434 | 56.19%

## DEVICE_4
Device Event Description by Extent of Harm
Harm_Scale | Device_Event_Description | Frequency | Percentage
Harm | Device defect or failure, including HIT | 764 | 9.537%
No Harm | Device defect or failure, including HIT | 7247 | 90.46%
Harm | Use error | 671 | 16.01%
No Harm | Use error | 3521 | 83.99%
Harm | Combination or interaction | 183 | 15.02%
No Harm | Combination or interaction | 1035 | 84.98%
Harm | Unknown | 868 | 8.088%
No Harm | Unknown | 9864 | 91.91%

## DEVICE_5
HIT Device Related to Event or Unsafe Condition
Type_of_Device | Frequency | Percentage
Administrative/billing/practice management system) | 44 | 8.22%
Automated dispensing system | 28 | 5.23%
Electronic health record (EHR)/component of EHR | 186 | 34.77%
Human interface device | 125 | 23.36%
Laboratory information system | 10 | 1.87%
Radiology/diagnostic imaging system | 50 | 9.35%
Other: Please specify | 92 | 17.2%

## DEVICE_6
HIT Device Related to Event or Unsafe Condition by Extent of Harm
Harm_Scale | HIT_Device | Frequency | Percentage
No Harm | Administrative/billing/practice management system) | 18 | 100%
Harm | Automated dispensing system | * | *
No Harm | Automated dispensing system | 12 | 92.31%
Harm | Electronic health record (EHR)/component of EHR | 13 | 11.82%
No Harm | Electronic health record (EHR)/component of EHR | 97
Harm | Human interface device | * | *
No Harm | Human interface device | 46 | 95.83%
No Harm | Laboratory information system | * | *
No Harm | Radiology/diagnostic imaging system | 25 | 100%
Harm | Other: Please specify | 10 | 16.39%
No Harm | Other: Please specify | 41 | 67.21%